# Unreinforced Stone Masonry

- No. of storey: single storey, double storey

- Storey height: Ground floor:__________ and first floor:_______________

- Type of stone:	Semi-dressed stone, round river-bed stone, foliated slate stone

- Construction material availability: Available, Not available, Distance:____________

- Maximum stone size: >12”, 9”-12”, 6”-9”, <6”

- Type of mortar: Dry/No mortar, Mud mortar, Cement-sand mortar

- Through stone: Provided. Not provided, if provided then typical spacing: _________

- Connection between orthogonal walls: through stone provided, not adequate connection

- External Wall Thickness: <15”, 15”, 18”, >18”, Thickness:____________

- Internal Wall Thickness: <15”, 15”, 18”, >18”, Thickness:____________

- Typical size of window: Length:___________ and height:_________________

- Typica; size of door: Length:______________ and height:________________

- Type of lintel beam: Continuous on all opening, separate on each opening

- Opening alignment in vertical direction: Aligned, Not aligned

- Material of lintel beam: wooden beam, stone beam, RC beam, other:________________

- Verandah column: RC column, Wooden column, Stone masonry column, Size:____________

- Type of floor: RC Slab, timber flat roof, T-iron roof, Not applicable, other:_____________

- Connection of floor to wall: No connection/bearing, connection through wooden laces on wall top, other:___________________

- Type of roof: RC Slab, timber flat roof, T-iron roof, wooden truss, steel truss, other:________

- Connection of roof to wall: No connection/bearing, connection through wooden laces on wall top, steel anchor bolts, other:___________________

# Stone Masonry with Timber Laces

- No. of storey: single storey, double storey

- Storey height: Ground floor:__________ and first floor:_______________

- Type of stone:	Semi-dressed stone, round river-bed stone, foliated slate stone

- Construction material availability: Available, Not available, Distance:____________

- Maximum stone size: >12”, 9”-12”, 6”-9”, <6”

- Type of mortar: Dry/No mortar, Mud mortar, Cement-sand mortar

- External Wall Thickness: <15”, 15”, 18”, >18”, Thickness:____________

- Internal Wall Thickness: <15”, 15”, 18”, >18”, Thickness:____________

- Spacing between timber laces:________________

- Size of timber laces:________________

- Connection between longitudinal timber laces and cross members: nailed, half connection

- Spacing of cross members: _______________

- Connection between timber laces at wall corner: No connection, Nailed connection, Half connection with projection, half connection without projection.

- Typical size of window: Length:___________ and height:_________________

- Typica; size of door: Length:______________ and height:________________

- Opening alignment in vertical direction: Aligned, Not aligned

- Verandah column: RC column, Wooden column, Stone masonry column, Size:____________

- Type of floor: RC Slab, timber flat roof, T-iron roof, Not applicable, other:_____________

- Connection of floor to wall: No connection/bearing, connection through wooden laces on wall top, other:___________________

- Type of roof: RC Slab, timber flat roof, T-iron roof, wooden truss, steel truss, other:________

- Connection of roof to wall: No connection/bearing, connection through wooden laces on wall top, steel anchor bolts, other:___________________

# RC Confined Stone Masonry

- No. of storey: single storey, double storey

- Storey height: Ground floor:__________ and first floor:_______________

- Type of stone:	Semi-dressed quarry stone, round river-bed stone, foliated slate stone

- Construction material availability: Available, Not available, Distance:____________

- Maximum stone size: >12”, 9”-12”, 6”-9”, <6”

- Type of mortar: Dry/No mortar, Mud mortar, Cement-sand mortar

- Through stone: Provided. Not provided, if provided then typical spacing: _________

- External Wall Thickness: <15”, 15”, 18”, >18”, Thickness: ____________

- Internal Wall Thickness: <15”, 15”, 18”, >18”, Thickness: ____________

- Typical size of window: Length: ___________ and height: _________________

- Typica; size of door: Length: ______________ and height: ________________

- Opening alignment in vertical direction: Aligned, Not aligned

- Connection between stone masonry wall and vertical confining column: Toothing provided, Not provided. RC columns are constructed before walls.

- Size vertical confining element/column: __________________

- Location of vertical confining element/column: At all corners only, At some corners, Intermediate elements are also provided, maximum spacing:_______________________

- Vertical confining elements at openings: Provided, Not provided, if provided then size:___________

- Horizontal Plinth bands/beams: Provided, Not provided, if provided then size:___________

- Horizontal Lintel bands/beams: Provided, Not provided, if provided then size:___________

- Horizontal Roof/floor bands/beams: Provided, Not provided, if provided then size:_______

- Horizontal Sill bands/beams: Provided, Not provided, if provided then size:___________

- Verandah column: RC column, Wooden column, Stone masonry column, Size:____________

- Type of floor: RC Slab, timber flat roof, T-iron roof, Not applicable, other:_____________

- Connection of floor to wall: No connection/bearing, connection through wooden laces on wall top, other:___________________

- Type of roof: RC Slab, timber flat roof, T-iron roof, wooden truss, steel truss, other:________

Connection of roof to wall: No connection/bearing, connection through wooden laces on wall top, steel anchor bolts, other:___________________

# Unreinforced Concrete/Adobe Block Masonry

- No. of storey: single storey, double storey

- Storey height: Ground floor:__________ and first floor:_______________

- Type of block: Concrete solid block, Concrete hollow block, adobe solid block

- Size of block: ____________________

- Construction material availability: Available, Not available, Distance(km):____________

- Type of mortar: Mud mortar, Cement-sand mortar

- Connection between orthogonal walls: adequate with proper overlap, not adequate connection

- Wall Thickness:____________

- Typical size of window: Length:___________ and height:_________________

- Typica; size of door: Length:______________ and height:________________

- Type of lintel beam: Continuous on all opening, separate on each opening

- Opening alignment in vertical direction: Aligned, Not aligned

- Material of lintel beam: wooden beam, stone beam, RC beam, other:________________

- Verandah column: RC column, Wooden column, block masonry column, Size:____________

- Type of floor: RC Slab, timber flat roof, T-iron roof, Not applicable, other:_____________

- Connection of floor to wall: No connection/bearing, connection through wooden laces on wall top, other:___________________

- Type of roof: RC Slab, timber flat roof, T-iron roof, wooden truss, steel truss, other:________

- Connection of roof to wall: No connection/bearing, connection through wooden laces on wall top, steel anchor bolts, other:___________________

# RC Confined Concrete Block/Adobe Masonry

- No. of storey: single storey, double storey

- Storey height: Ground floor:__________ and first floor:_______________

- Type of block: Concrete solid block, Concrete hollow block, adobe solid block

- Size of block: ____________________

- Construction material availability: Available, Not available, Distance:____________

- Type of mortar: Dry/No mortar, Mud mortar, Cement-sand mortar

- Wall Thickness: ____________

- Typical size of window: Length: ___________ and height: _________________

- Typica; size of door: Length: ______________ and height: ________________

- Opening alignment in vertical direction: Aligned, Not aligned

- Connection between block masonry wall and vertical confining column: Toothing provided, Not provided. RC columns are constructed before walls.

- Size vertical confining element/column: __________________

- Location of vertical confining element/column: At all corners only, At some corners, Intermediate elements are also provided, maximum spacing:_______________________

- Vertical confining elements at openings: Provided, Not provided, if provided then size:___________

- Horizontal Plinth bands/beams: Provided, Not provided, if provided then size:___________

- Horizontal Lintel bands/beams: Provided, Not provided, if provided then size:___________

- Horizontal Roof/floor bands/beams: Provided, Not provided, if provided then size:_______

- Horizontal Sill bands/beams: Provided, Not provided, if provided then size:___________

- Verandah column: RC column, Wooden column, block masonry column, Size:____________

- Type of floor: RC Slab, timber flat roof, T-iron roof, Not applicable, other:_____________

- Connection of floor to wall: No connection/bearing, connection through wooden laces on wall top, other:___________________

- Type of roof: RC Slab, timber flat roof, T-iron roof, wooden truss, steel truss, other:________

Connection of roof to wall: No connection/bearing, connection through wooden laces on wall top, steel anchor bolts, other:___________________